Water Quality Management Plan (WQMP)

Template/User Guide

Water Quality Management Plan (WQMP)
Template/User Guide
Introduction

The preparation of a development project WQMP is a requirement of the City’s Urban Runoff Management Program. This program was developed by the City of Placentia to comply with State and Federal regulations to control and eliminate runoff pollution into receiving waters such as creeks, lakes and the ocean. In any case where a WQMP is required, a draft WQMP must be submitted with the application for a development permit. In this initial phase of development approval, the structural BMPs are the principal element of concern. Therefore, the concept grading plan as part of the initial development application must clearly show all proposed structural BMPs in conformance to Section 4 herein. The draft WQMP submitted at that time must address all aspects related to the determination of the structural BMPs. Other aspects may be considered later in the final WQMP document that must be submitted for review and approval prior to grading or building permit approval. This template is to be used in preparing WQMPs for development projects in the City of Placentia. The template is a simplified document that generally follows the structure of the more comprehensive Orange County Drainage Area Management Plan (DAMP) and the City’s Local Implementation Plan (LIP) for water quality. Therefore, the Orange County DAMP and the City’s LIP should be used as a reference when more specific guidance is necessary. The City requires Project WQMPs to be prepared using the guidelines set forth in the Model WQMP, provided in DAMP, Section 7, Exhibit 7.II. The LIP can be accessed by contacting the City Public Works Department Engineering Division. The Orange County DAMP can be reviewed at www.ocwatersheds.com. 
Another useful reference document is the California Stormwater Quality Association (CASQA) New development and Redevelopment handbook. The handbook is available at www.cabmphandbooks.com. This handbook provides direct and practical in-depth information in all areas related to developing a WQMP. In general, the DAMP and LIP summarize the regulations, and the handbook explains ways to attain conformance to the regulations. It is recommended that project applicants follow this WQMP template as much as possible, as it will help facilitate preparation and the corresponding City review process. However, use of this specific template is not required.
Determination of Need/Extent of WQMP

Most types of projects require a WQMP, and requirements are more extensive for certain types of projects. Any application for a project that requires discretionary action and includes a precise plan of development (Site Development Permit, Use Permit or Variance Permit), requires a WQMP to be submitted with the initial development permit application. Further, any project involving construction and installation of facilities for the conveyance of liquids other than stormwater, potable water, reclaimed water or domestic sewage, are required to submit a WQMP with the application for a project. There are also some types of projects that are considered “Priority Projects”, which require a WQMP to be submitted regardless of the type of application, as listed in the table.  
To assist with compliance with the SARWQCB permit requirements and to explain aspects of the Model WQMP, a Technical Guidance Document (updated Dec 2013) and http://media.ocgov.com/civicax/filebank/blobdload.aspx?BlobID=21237 for the preparation of WQMP is available for project proponents. 
7.II–1.2 Priority Project Categories Dated may 19,2011 

This Model WQMP describes the process for preparing Conceptual or Preliminary WQMPs and final Project WQMPs for certain new development and significant redevelopment projects called "Priority Projects." A project is considered a Priority Project in the North Orange County (NOC) Permit Area if it meets any one of the following criteria listed in Tables 7.II-2 or 7.II-3, respectively. 
Table 7.II-2: Priority Projects Categories for North County Permit Area
	1. New development projects that create 10,000 square feet or more of impervious surface. This category includes commercial, industrial, residential housing subdivisions, mixed-use, and public projects on private or public property that falls under the planning and building authority or the Permittees.

	2. Automotive repair shops. This applies to facilities that are categorized in any one of the following Standard Industrial Classification (SIC) codes 5013, 5014, 5541, 7532-7534, and 7536- 7539.

	3. Restaurants where the land area of development is 5,000 square feet or more including parking area. This category is defined as facilities that sell prepared foods and drinks for consumption, including stationary lunch counters and refreshment stands selling prepared foods and drinks for immediate consumption (SIC code 5812).

	4. Hillside development greater than 5,000 square feet. Hillside development is defined as any development which is located in an area with known erosive soil conditions or where the natural slope is twenty-five percent or greater.

	5. Impervious surface of 2,500 square feet or more located within, directly adjacent to (within 200 feet), or discharging directly into receiving waters within Environmentally Sensitive Areas (ESAs).

	6. Parking lots 5,000 square feet or more including associated drive aisle, and potentially exposed to urban stormwater runoff. A parking lot is defined as a land area or facility for the temporary parking or storage of motor vehicles used personally, for business, or for commerce.

	7. Streets, roads, highways, and freeways. This category includes any paved surface that is 5,000 square feet or greater used for the transportation of automobiles, trucks, motorcycles, and other vehicles. (See discussion under (Section 7.II-1.5 relative to public projects).

	8. All significant redevelopment projects, where significant redevelopment is defined as the addition or replacement of 5,000 or more square feet of impervious surface on an already developed site. Redevelopment does not include routine maintenance activities that are conducted to maintain original line and grade, hydraulic capacity, original purpose of the facility, or emergency redevelopment activity required to protect public health and safety. If the redevelopment results in the addition or replacement of less than 50 percent of the impervious area on-site and the existing development was not subject to WQMP requirement, the numeric sizing criteria discussed in Section 7.II-2.0 only applies to the addition or replacement area. If the addition or replacement accounts for 50 percent or more of the impervious area, the Project WQMP requirements apply to the entire development.

	9. Retail Gasoline Outlets (RGOs). This category includes RGOs that meet the following criteria: (a) 5,000 square feet or more, or (b) a projected Average Daily Traffic (ADT) of 100 or more vehicles per day.



[image: image1]
Water Quality

Management Plan 

(WQMP)

<Use for Private Development Projects>
Project Name:
     
Prepared for:

Insert Owner/Developer Name-then TAB.
Insert Address 1 then press ENTER to insert Address 2 or TAB to next field.
Insert City, State, ZIP-then TAB.
Insert Telephone-then TAB.
Prepared by:

Insert Consulting/Engineering Firm Name-then TAB.
Engineer _______________ Registration No.________ (optional if not used)

Insert Address-then TAB.
Insert City, State, ZIP-then TAB.
Insert Telephone-then TAB
Prepared on: 
Insert Date-then TAB.
	Project Owner’s Certification

	Planning Application No. (If applicable)
	     
	Grading Permit No.
	

	Tract/Parcel Map and Lot(s) No.      
	     
	Building Permit No.
	

	Address of Project Site and APN

 (If no address, specify Tract/Parcel Map and Lot Numbers) 
	


This Water Quality Management Plan (WQMP) has been prepared for Owner/Developer Name by Consulting/Engineering Firm Name.  The WQMP is intended to comply with the requirements of the County of Orange NPDES Stormwater Program requiring the preparation of the plan.

The undersigned, while it owns the subject property, is responsible for the implementation of the provisions of this plan , including the ongoing operation and maintenance of all best management practices (BMPs), and will ensure that this plan is amended as appropriate to reflect up-to-date conditions on the site consistent with the current Orange County Drainage Area Management Plan (DAMP) and the intent of the non-point source NPDES Permit for Waste Discharge Requirements for the County of Orange, Orange County Flood Control District and the incorporated Cities of Orange County within the Santa Ana Region.  Once the undersigned transfers its interest in the property, its successors-in-interest shall bear the aforementioned responsibility to implement and amend the WQMP.  An appropriate number of approved and signed copies of this document shall be available on the subject site in perpetuity.
	Owner:

	Title
	

	Company
	

	Address
	

	Email
	

	Telephone #
	

	I understand my responsibility to implement the provisions of this WQMP including the ongoing operation and maintenance of the best management practices (BMPs) described herein. 

	Owner Signature
	
	Date
	


	Preparer (Engineer):

	Title
	
	PE Registration #
	

	Company
	

	Address
	

	Email
	

	Telephone #
	

	I hereby certify that this Water Quality Management Plan is in compliance with, and meets the requirements set forth in, Order No. R8-2009-0030/NPDES No. CAS618030, of the Santa Ana Regional Water Quality Control Board.

	Preparer Signature
	
	Date
	

	Place

Stamp 

Here 
	


Contents









Page No.
Section I Discretionary Permit(s) and Water Quality Conditions
3
Section II Project Description
4

Section III Site Description
10
Section IV Best Management Practices (BMPs)
12 

Section V Inspection/Maintenance Responsibility for BMPs
24
Section VI Site Plan and Drainage Plan
26
Section VII Educational Materials
27


Attachments

Attachment A

Educational Materials
Attachment B…………………………………………………………………………………. O & M 
Attachment C…………………………………………………………………  Hydrology Information 

Attachment D……………………………………………          BMP Drainage Plan/Site Plan/PGP

Maintenance Covenant for WQMP

Section I
Permit(s) and Water Quality Conditions of Approval or 
Issuance

Provide discretionary or grading/building permit information and water quality conditions of approval, or permit issuance, applied to the project.  If conditions are unknown, please request applicable conditions from staff.  Refer to Section 2.1 in the Technical Guidance Document (TGD) available on the OC Planning website (ocplanning.net).

	Project Infomation

	Permit/Application No. (If applicable)
	     
	Grading or Building Permit No. 

(If applicable)
	     

	Address of Project Site (or Tract Map and Lot Number if no address) and APN
	     

	

	Water Quality Conditions of Approval or Issuance

	Water Quality Conditions of Approval or Issuance applied to this project.   

(Please list verbatim.)
	

	

	Conceptual WQMP

	Was a Conceptual Water Quality Management Plan previously approved for this project?
	

	

	Watershed-Based Plan Conditions

	Provide applicable conditions from watershed - based plans including WIHMPs and TMDLS.
	


Section II
Project Description

II.1
Project Description

Provide a detailed project description including:  

· Project areas; 

· Land uses; 

· Land cover; 

· Design elements;

· A general description not broken down by drainage management areas (DMAs). 

Include attributes relevant to determining applicable source controls. Refer to Section 2.2 in the TGD for information that must be included in the project description. 
	Description of Proposed Project 

	Development Category (From Model WQMP, Table 7.11-2; or -3):
	

	Project Area (ft2):  _______ 
	Number of Dwelling Units:  ___________
	SIC Code:  __________

	Project Area
	Pervious
	Impervious

	
	Area 

(acres or sq ft)
	Percentage
	Area

(acres or sq ft)
	Percentage

	Pre-Project Conditions
	
	
	
	

	Post-Project Conditions
	
	
	
	

	Drainage Patterns/Connections
	

	Narrative Project Description:

(Use as much space as necessary.)
	


II.2
Potential Stormwater Pollutants

Determine and list expected stormwater pollutants based on land uses and site activities. Refer to Section 2.2.2 and Table 2.1 in the TGD for guidance.
	Pollutants of Concern

	Pollutant
	Check One for each: E=Expected to be of concern 

N=Not Expected to be of concern
	Additional Information and Comments

	Suspended-Solid/ Sediment
	E  FORMCHECKBOX 

	N  FORMCHECKBOX 

	     

	Nutrients
	E  FORMCHECKBOX 

	N  FORMCHECKBOX 

	     

	Heavy Metals
	E  FORMCHECKBOX 

	N  FORMCHECKBOX 

	     

	Pathogens (Bacteria/Virus)
	E  FORMCHECKBOX 

	N  FORMCHECKBOX 

	     

	Pesticides
	E  FORMCHECKBOX 

	N  FORMCHECKBOX 

	     

	Oil and Grease
	E  FORMCHECKBOX 

	N  FORMCHECKBOX 

	     

	Toxic Organic Compounds
	E  FORMCHECKBOX 

	N  FORMCHECKBOX 

	     

	Trash and Debris
	E  FORMCHECKBOX 

	N  FORMCHECKBOX 

	     


II.3
Hydrologic Conditions of Concern

Determine if streams located downstream from the project area are potentially susceptible to hydromodification impacts. Refer to Section 2.2.3.1 in the Technical Guidance Document (TGD) for North Orange County or Section 2.2.3.2 for South Orange County.

 FORMCHECKBOX 
 No – Show map

 FORMCHECKBOX 
 Yes – Describe applicable hydrologic conditions of concern below. Refer to Section 2.2.3 in the Technical Guidance Document (TGD).
	


II.4
Post Development Drainage Characteristics

Describe post development drainage characteristics. Refer to Section 2.2.4 in the TGD.
	     


II.5
Property Ownership/Management

Describe property ownership/management. Refer to Section 2.2.5 in the TGD.

	     


Section III
Site Description

III.1
Physical Setting

Fill out table with relevant information. Refer to Section 2.3.1 in the TGD.
	Name of Planned Community/Planning Area (if applicable)
	     

	Location/Address
	     

	
	     

	General Plan Land Use Designation
	     

	Zoning
	     

	Acreage of Project  Site
	     

	Predominant Soil Type
	     


III.2
Site Characteristics

Fill out table with relevant information and include information regarding BMP sizing, suitability, and feasibility, as applicable. Refer to Section 2.3.2 in the Technical Guidance Document (TGD).

	Site Characteristics

	Precipitation Zone
	     

	Topography
	     

	Drainage Patterns/Connections
	     

	Soil Type, Geology, and Infiltration Properties
	     

	Hydrogeologic (Groundwater) Conditions
	

	Geotechnical Conditions (relevant to infiltration)
	

	Off-Site Drainage
	

	Utility and Infrastructure Information
	


III.3
Watershed Description
Fill out table with relevant information and include information regarding BMP sizing, suitability, and feasibility, as applicable. Refer to Section 2.3.3 in the TGD.
	Receiving Waters
	     

	303(d) Listed Impairments
	     

	Applicable TMDLs
	     

	Pollutants of Concern for the Project
	     

	Environmentally Sensitive and Special Biological Significant Areas
	     


Section IV
Best Management Practices (BMPs)

IV. 1
Project Performance Criteria

Describe project performance criteria. Several steps must be followed in order to determine what performance criteria will apply to a project. These steps include:
· If the project has an approved WIHMP or equivalent, then any watershed specific criteria must be used and the project can evaluate participation in the approved regional or sub-regional opportunities.  The local Permittee planning or NPDES staff should be consulted regarding the existence of an approved WIHMP or equivalent.

· Determine applicable hydromodification control performance criteria. Refer to Section 7.II-2.4.2.2 of the Model WQMP.
· Determine applicable LID performance criteria. Refer to Section 7.II-2.4.3 of the Model WQMP.
· Determine applicable treatment control BMP performance criteria. Refer to Section 7.II-3.2.2 of the Model WQMP.
· Calculate the LID design storm capture volume for the project. Refer to Section 7.II-2.4.3 of the Model WQMP.
	(NOC Permit Area only) Is there an approved WIHMP or equivalent for the project area that includes more stringent LID feasibility criteria or if there are opportunities identified for implementing LID on regional or sub-regional basis?
	YES  FORMCHECKBOX 

	NO  FORMCHECKBOX 


	If yes, describe WIHMP feasibility criteria or regional/sub-regional LID opportunities.
	     


	Project Performance Criteria (continued)

	If HCOC exists, list applicable hydromodification control performance criteria (Section 7.II-2.4.2.2 in MWQMP)
	     

	List applicable LID performance criteria (Section 7.II-2.4.3 from MWQMP)
	     

	List applicable treatment control BMP performance criteria (Section 7.II-3.2.2 from MWQMP) 
	     

	Calculate LID design storm capture volume for Project.
	     


IV.2.

SITE DESIGN AND DRAINAGE PLAN

Describe site design and drainage plan including

· A narrative of site design practices utilized or rationale for not using practices; 

· A narrative of how site is designed to allow BMPs to be incorporated to the MEP
· A table of DMA characteristics and list of LID BMPs proposed in each DMA.
· Reference to the WQMP plot plan.

· Calculation of Design Capture Volume (DCV) for each drainage area.

· A listing of GIS coordinates for LID and Treatment Control BMPs (unless not required by local jurisdiction).

Refer to Section 2.4.2 in the TGD.
	f


IV.3
 LID BMP SELECTION AND PROJECT CONFORMANCE ANALYSIS

Each sub-section below documents that the proposed design features conform to the applicable project performance criteria via check boxes, tables, calculations, narratives, and/or references to worksheets. Refer to Section 2.4.2.3 in the TGD for selecting LID BMPs and Section 2.4.3 in the TGD for conducting conformance analysis with project performance criteria.
IV.3.1
Hydrologic Source Controls
(HSCs)
If required HSCs are included, fill out applicable check box forms.  If the retention criteria are otherwise met with other LID BMPs, include a statement indicating HSCs not required.
	Name
	Included?

	Localized on-lot infiltration
	 FORMCHECKBOX 


	Impervious area dispersion (e.g. roof top disconnection)
	 FORMCHECKBOX 


	Street trees (canopy interception)
	 FORMCHECKBOX 


	Residential rain barrels (not actively managed)
	 FORMCHECKBOX 


	Green roofs/Brown roofs
	 FORMCHECKBOX 


	Blue roofs
	 FORMCHECKBOX 


	Impervious area reduction (e.g. permeable pavers, site design)
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 



IV.3.2
Infiltration BMPs

Identify infiltration BMPs to be used in project.  If design volume cannot be met state why BMPs cannot be met

	Name
	Included?

	Bioretention without underdrains
	 FORMCHECKBOX 


	Rain gardens
	 FORMCHECKBOX 


	Porous landscaping
	 FORMCHECKBOX 


	Infiltration planters
	 FORMCHECKBOX 


	Retention swales
	 FORMCHECKBOX 


	Infiltration trenches
	 FORMCHECKBOX 


	Infiltration basins
	 FORMCHECKBOX 


	Drywells
	 FORMCHECKBOX 


	Subsurface infiltration galleries
	 FORMCHECKBOX 


	French drains
	 FORMCHECKBOX 


	Permeable asphalt
	 FORMCHECKBOX 


	Permeable concrete
	 FORMCHECKBOX 


	Permeable concrete pavers
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 



Show calculations below to demonstrate if the LID Design Storm Capture Volume can be met with infiltration BMPs.  If not document how much can be met with infiltration and document why it is not feasible to meet the full volume with infiltration BMPs.

	


IV.3.3
Evapotranspiration, Rainwater Harvesting BMPs

If the full Design Storm Capture Volume cannot be met with infiltration BMPs, describe any evapotranspiration, rainwater harvesting BMPs. <Delete or leave blank if not used>
	Name
	Included?

	All HSCs; See Section IV.3.1
	 FORMCHECKBOX 


	Surface-based infiltration BMPs
	 FORMCHECKBOX 


	Biotreatment BMPs
	 FORMCHECKBOX 


	Above-ground cisterns and basins
	 FORMCHECKBOX 


	Underground detention
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 



Show calculations below to demonstrate if the LID Design Storm Capture Volume can be met with evapotranspiration, rainwater harvesting BMPs  in combination with infiltration BMPs.  If not document how much can be met with either infiltration BMPs, evapotranspiration, rainwater harvesting BMPs, or a combination, and document why it is not feasible to meet the full volume with either of these BMPs categories.
	     


IV.3.4  Biotreatment BMPs

If the full Design Storm Capture Volume cannot be met with infiltration BMPs, and/or evapotranspiration and rainwater harvesting BMPs, describe biotreatment BMPs. Include sections for selection, suitability, sizing, and infeasibility, as applicable. <Delete or leave blank if not used>
	Name
	 Included?

	Bioretention with underdrains
	 FORMCHECKBOX 


	Stormwater planter boxes with underdrains
	 FORMCHECKBOX 


	Rain gardens with underdrains
	 FORMCHECKBOX 


	Constructed wetlands
	 FORMCHECKBOX 


	Vegetated swales
	 FORMCHECKBOX 


	Vegetated filter strips
	 FORMCHECKBOX 


	Proprietary vegetated biotreatment systems 
	 FORMCHECKBOX 


	Wet extended detention basin
	 FORMCHECKBOX 


	Dry extended detention basins
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 


	Other:       
	 FORMCHECKBOX 



Show calculations below to demonstrate if the LID Design Storm Capture Volume can be met with infiltration, evapotranspiration, rainwater harvesting and/or biotreatment BMPs.  If not document how much can be met with either infiltration BMPs, evapotranspiration, rainwater harvesting BMPs, or a combination, and document why it is not feasible to meet the full volume with either of these BMPs categories.
	     


IV.3.5
Hydromodification Control BMPs
Describe hydromodification control BMPs. See Section 5 TGD.  Include sections for selection, suitability, sizing, and infeasibility, as applicable. Detail compliance with Prior Conditions of Approval. <Delete or leave blank if not used> 
	Hydromodification Control BMPs

	BMP Name
	BMP Description

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     


IV.3.6
Regional/Sub-Regional LID BMPs 

Describe regional/sub-regional LID BMPs in which the project will participate. Refer to Section 7.II-2.4.3.2 of the Model WQMP. <Delete or leave blank if not used> 
	Regional/Sub-Regional LID BMPs


	


IV.3.7
Treatment Control BMPs

Treatment control BMPs can only be considered if the project conformance analysis indicates that it is not feasible to retain the full design capture volume with LID BMPs. Describe treatment control BMPs including sections for selection, sizing, and infeasibility, as applicable.  <Delete or leave blank if not used> 
	Treatment Control BMPs

	BMP Name
	BMP Description

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     


IV.3.8
Non-structural Source Control BMPs
Fill out non-structural source control check box forms or provide a brief narrative explaining if non-structural source controls were not used.

	Non-Structural Source Control BMPs

	Identifier
	Name
	Check One
	If not applicable, state brief reason

	
	
	Included
	Not Applicable
	

	N1
	Education for Property Owners, Tenants and Occupants
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N2
	Activity Restrictions
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N3
	Common Area Landscape Management
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N4
	BMP Maintenance
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N5
	Title 22 CCR Compliance (How development will comply)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N6
	Local Industrial Permit Compliance
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N7
	Spill Contingency Plan
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N8
	Underground Storage Tank Compliance
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N9
	Hazardous Materials Disclosure Compliance
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N10
	Uniform Fire Code Implementation
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N11
	Common Area Litter Control
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N12
	Employee Training
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N13
	Housekeeping of Loading Docks
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N14
	Common Area Catch Basin Inspection
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N15
	Street Sweeping Private Streets and Parking Lots
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	N16
	Retail Gasoline Outlets
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     


IV.3.9
Structural Source Control BMPs

Fill out structural source control check box forms or provide a brief narrative explaining if Structural source controls were not used.

	Structural Source Control BMPs

	Identifier
	Name
	Check One
	If not applicable, state brief reason

	
	
	Included
	Not Applicable
	

	S1
	Provide storm drain system stenciling and signage
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S2
	Design and construct outdoor material storage areas to reduce pollution introduction
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S3
	Design and construct trash and waste storage areas to reduce pollution introduction
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S4
	Use efficient irrigation systems & landscape design, water conservation, smart controllers, and source control
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S5
	Protect slopes and channels and provide energy dissipation
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	
	Incorporate requirements applicable to individual priority project categories (from SDRWQCB NPDES Permit)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S6
	Dock areas
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S7
	Maintenance bays
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S8
	Vehicle wash areas
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S9
	Outdoor processing areas
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S10
	Equipment wash areas
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S11
	Fueling areas
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S12
	Hillside landscaping
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S13
	Wash water control for food preparation areas
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	S14
	Community car wash racks
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     


IV.4
ALTERNATIVE COMPLIANCE PLAN (IF APPLICABLE)
Describe an alternative compliance plan (if applicable). Include alternative compliance obligations (i.e., gallons, pounds) and describe proposed alternative compliance measures. Refer to Section 7.II 3.0 in the WQMP.
IV.4.1
Water Quality Credits

Determine if water quality credits are applicable for the project. Refer to Section 3.1 of the Model WQMP for description of credits and Appendix VI of the TGD for calculation methods for applying water quality credits.
	Description of Proposed Project

	Project Types that Qualify for Water Quality Credits (Select all that apply):  

	 FORMCHECKBOX 
Redevelopment projects that reduce the overall impervious footprint of the project site.
	 FORMCHECKBOX 
Brownfield redevelopment, meaning redevelopment, expansion, or reuse of real property which may be complicated by the presence or potential presence of hazardous substances, pollutants or contaminants, and which have the potential to contribute to adverse ground or surface WQ if not redeveloped.
	 FORMCHECKBOX 
 Higher density development projects which include two distinct categories (credits can only be taken  for one category): those with more than seven units per acre of development (lower credit allowance); vertical density developments, for example, those with a Floor to Area Ratio (FAR) of 2 or those having more than 18 units per acre (greater credit allowance).

	 FORMCHECKBOX 
 Mixed use development, such as a combination of residential, commercial, industrial, office, institutional, or other land uses which incorporate design principles that can demonstrate environmental benefits that would not be realized through single use projects (e.g. reduced vehicle trip traffic with the potential to reduce sources of water or air pollution).
	 FORMCHECKBOX 
 Transit-oriented developments, such as a mixed use residential or commercial area designed to maximize access to public transportation; similar to above criterion, but where the development center is within one half mile of a mass transit center (e.g. bus, rail, light rail or commuter train station). Such projects would not be able to take credit for both categories, but may have greater credit assigned
	 FORMCHECKBOX 
 Redevelopment projects in an established historic district, historic preservation area, or similar significant city area including core City Center areas (to be defined through mapping).

	 FORMCHECKBOX 
Developments with dedication of undeveloped portions to parks, preservation areas and other pervious uses.
	 FORMCHECKBOX 
 Developments in a city center area.
	 FORMCHECKBOX 
 Developments in historic districts or historic preservation areas.
	 FORMCHECKBOX 
 Live-work developments, a variety of developments designed to support residential and vocational needs together – similar to criteria to mixed use development; would not be able to take credit for both categories.
	 FORMCHECKBOX 
In-fill projects, the conversion of empty lots and other underused spaces into more beneficially used spaces, such as residential or commercial areas.

	Calculation of Water Quality Credits

(if applicable)
	     


IV.4.2
Alternative Compliance Plan Information
Describe an alternative compliance plan (if applicable). Include alternative compliance obligations (i.e., gallons, pounds) and describe proposed alternative compliance measures. Refer to Section 7.II 3.0 in the WQMP.
	     


Section V  Inspection/Maintenance Responsibility for BMPs

Fill out information in table below. Prepare and attach an Operation and Maintenance Plan.  Identify the mechanism through which BMPs will be maintained. Inspection and maintenance records must be kept for a minimum of five years for inspection by the regulatory agencies. Refer to Section 7.II 4.0 in the Model WQMP.
	BMP Inspection/Maintenance

	BMP
	Reponsible

Party(s)
	Inspection/ Maintenance

Activities Required
	Minimum Frequency of Activities

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Section VI   BMP Exhibit (Site Plan)
VI.1
SITE PLAN AND DRAINAGE PLAN 
Include a BMP Exhibit (Site Plan), at a size no less than 24” by 36,” which includes the following minimum information:

· Insert in the title block (lower right hand corner) of BMP Exhibit: the WQMP Number (assigned by staff) and the grading/building or Planning Application permit numbers 

· Project location (address, tract/lot number(s), etc.)

· Site boundary

· Land uses and land covers, as applicable

· Suitability/feasibility constraints

· Structural BMP locations

· Drainage delineations and flow information

· Delineate the area being treated by each structural BMP

· GIS coordinates for LID and Treatment Control BMPs

· Drainage connections

· BMP details

· Preparer name and stamp

Please do not include any areas outside of the project area or any information not related to drainage or water quality.  The approved BMP Exhibit (Site Plan) shall be submitted as a plan sheet on all grading and building plan sets submitted for plan check review and approval.  The BMP Exhibit shall be at the same size as the rest of the plan sheets in the submittal and shall have an approval stamp and signature prior to plan check submittal.

VI.2
Submittal and Recordation of Water Quality Management Plan
Following approval of the Final Project-Specific WQMP, three copies of the approved WQMP (including BMP Exhibit, Operations and Maintenance (O&M) Plan, and Appendices) shall be submitted.  In addition, these documents shall be submitted in a PDF format.

Each approved WQMP (including BMP Exhibit, Operations and Maintenance (O&M) Plan, and Appendices) shall be recorded in the Orange County Clerk-Recorder’s Office, prior to close-out of grading and/or building permit.  Educational Materials are not required to be included.

Section VII
Educational Materials

Refer to the Orange County Stormwater Program (ocwatersheds.com) for a library of materials available. For the copy submitted to the Permittee, only attach the educational materials specifically applicable to the project. Other materials specific to the project may be included as well and must be attached.
	Education Materials

	Residential Material

(http://www.ocwatersheds.com)
	Check If
Applicable
	Business Material

(http://www.ocwatersheds.com)
	Check If
Applicable

	The Ocean Begins at Your Front Door
	 FORMCHECKBOX 

	Tips for the Automotive Industry
	 FORMCHECKBOX 


	Tips for Car Wash Fund-raisers
	 FORMCHECKBOX 

	Tips for Using Concrete and Mortar
	 FORMCHECKBOX 


	Tips for the Home Mechanic
	 FORMCHECKBOX 

	Tips for the Food Service Industry
	 FORMCHECKBOX 


	Homeowners Guide for Sustainable Water Use
	 FORMCHECKBOX 

	Proper Maintenance Practices for Your Business
	 FORMCHECKBOX 


	Household Tips
	 FORMCHECKBOX 

	Other Material
	Check If
Attached

	Proper Disposal of Household Hazardous Waste
	 FORMCHECKBOX 

	
	

	Recycle at Your Local Used Oil Collection Center (North County)
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Recycle at Your Local Used Oil Collection Center (Central County)
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Recycle at Your Local Used Oil Collection Center (South County)
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Tips for Maintaining a Septic Tank System
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Responsible Pest Control
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Sewer Spill
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Tips for the Home Improvement Projects
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Tips for Horse Care
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Tips for Landscaping and Gardening
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Tips for Pet Care
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Tips for Pool Maintenance
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Tips for Residential Pool, Landscape and Hardscape Drains
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 


	Tips for Projects Using Paint
	 FORMCHECKBOX 

	     
	 FORMCHECKBOX 



Appendix A:

Educational Material

Appendix B:

Operation and Maintenance

Appendix C:

Hydrology Information

(Q2 – Two-year frequency storm evaluation)

Appendix D:

BMP Drainage Plan/Site Plan

[image: image2.png]PLACENTIA




RECORDING REQUESTED BY:

_____________________________________

AND MAIL TO:
CITY OF PLACENTIA
PUBLIC WORKS DEPARTMENT
401 E. CHAPMAN AVENUE

PLACENTIA, CA 92870
   
Space above line is for Recorder's use
MAINTENANCE COVENANT FOR WATER QUALITY MANAGEMENT PLAN (WQMP) 
REGARDING ON-SITE BMP MAINTENANCE 
Pursuant to MS4 Ordinance of the City of Placentia relating to the control of pollutants carried by stormwater runoff, structural and/ or treatment control Best Management Practices (BMPs) have been installed on the following property:
LEGAL DESCRIPTION
ASSESSOR'S PARCEL NO.      
SITE ADDRESS: 
REFERENCE

P.C. NO.: 
I (we)     
, hereby certify that I (we) am (are) the legal owner(s) of

(Legal Name of Property Owner(s))
Property indicated above, and as such owners for the mutual benefit of future purchasers, their heirs, successors, and assigns, do hereby fix the following protective conditions to which their property, or portions thereof, shall be held, sold and/ or conveyed.
That owner(s) shall maintain the drainage devices such as paved swales, bench drains, inlets, catch basins, down drains, pipes, and water quality devices (BMPs) on the property indicated above and as shown on the plans permitted by the City of Placentia Department of Public Works and as outlined in the attached "OPERATION AND MAINTENANCE PLAN", in a good and functional condition to safeguard the property owners an adjoining properties form damage and pollution.
That owner(s) shall conduct maintenance inspection of all Structural or Treatment Control BMPs on the property at least once a year and retain proof of the inspection.  Said maintenance inspection shall verify the legibility of all required stencils and signs and shall repaint and label as necessary.
That owner(s) shall provide printed educational materials with any sale of the property that provide information on what storm water management facilities are present, the type(s) and location(s) of maintenance signs that are required, and how the necessary maintenance can be performed.

Owner(s): 

By:                                                    Date:
By:   
Date: (PLEASE ATTACH NOTARY) 

