City of Placentia

Residential and Non-Residential

Checklist for Permitting Electric Vehicles

And Electric Vehicle Service Equipment (EVSE)

Please complete the following information related to permitting and installation of Electric Vehicle Service Equipment (EVSE) as a supplement to the application for a building permit.  This checklist contains the technical aspects of EVSE installations and is intended to help expedite permitting and use for electric vehicle charging.

Upon this checklist being deemed complete, a permit shall be issued to the applicant.  However, if it is determined that the installation might have a specific adverse impact on public health or safety, additional verification will be required before a permit can be issued.

This checklist substantially follows the “Plug-In Electric Vehicle Infrastructure Permitting Checklist” contained in the Governor’s Office of Planning and Research “Zero Emission Vehicles in California: Community Readiness Guidebook” and is purposed to augment the guidebook’s checklist.

| Job Address: | Permit No. |
| --- | --- |
| ☐ Single-Family ☐ Multi-Family (Apartment) ☐ Multi-Family (Condominium) ☐ Commercial (Single Business) ☐ Commercial (Multi-Businesses) ☐ Mixed-Use ☐ Public Right-of-Way |  |
| Location and Number of EVSE to be Installed: Garage ______ Parking Level(s) _____ Parking Lot _____ Street Curb _____ |  |
| Description of Work: |  |

| Applicant Name: |  |
| --- | --- |
| Applicant Phone & email: |  |
| Contractor Name: | License Number & Type: |
| Contractor Phone & email: |  |
| Owner Name: |  |
| Owner Phone & email: |  |

| EVSE Charging Level: ☐ Level 1 (120V) ☐ Level 2 (240V) ☐ Level 3 (480V) |  |
| --- | --- |
| Maximum Rating (Nameplate) of EV Service Equipment = ___________ kW |  |
| Voltage EVSE = ______ V | Manufacturer of EVSE: ___________________________ |
| Mounting of EVSE: ☐ Wall Mount ☐ Pole Pedestal Mount ☐ Other _____________ |  |

System Voltage: ☐ 120/240V, 1ϕ, 3W ☐ 120/208V, 3ϕ, 4W ☐ 120/240V, 3ϕ, 4W ☐ 277/480V, 3ϕ, 4W ☐ Other ________________

Rating of Existing Main Electrical Service Equipment = __________ Amperes

Rating of Panel Supplying EVSE (if not directly from Main Service) = ________ Amps

Rating of Circuit for EVSE: __________ Amps / __________ Poles

AIC Rating of EVSE Circuit Breaker (if not Single Family, 400A) = __________ A.I.C. (or verify with Inspector in field)

Specify Either Connected, Calculated or Documented Demand Load of Existing Panel:

- Connected Load of Existing Panel Supplying EVSE = __________ Amps

- Calculated Load of Existing Panel Supplying EVSE = __________ Amps

- Demand Load of Existing Panel or Service Supplying EVSE = _________ Amps (Provide Demand Load Reading from Electric Utility)

Total Load (Existing plus EVSE Load) = __________ Amps

For Single Family Dwellings, if Existing Load is not known by any of the above methods, then the Calculated Load may be estimated using the “Single-Family Residential Permitting Application Example” in the Governor’s Office of Planning and Research “Zero Emission Vehicles in California: Community Readiness Guidebook” https://www.opr.ca.gov

EVSE Rating __________ Amps x 1.25 = __________ Amps = Minimum Ampacity of EVSE Conductor = # __________ AWG

For Single-Family: Size of Existing Service Conductors = # __________ AWG or kcmil - or - : Size of Existing Feeder Conductor Supplying EVSE Panel = # __________ AWG or kcmil (or Verify with Inspector in field)

I hereby acknowledge that the information presented is a true and correct representation of existing conditions at the job site and that any causes for concern as to life-safety verifications may require further substantiation of information.

Signature of Permit Applicant:  ____________________     Date:  _______________